## Cover
Change for Life
| Project Name: | Default
| Location: | -
| Designer: | -
| Contract NO: | -
| Date of Design: | 2015-11-28
| From: | -
| Remark: | -
Disclaimer:

## ProjectProposal
Change for Life
Part 1 Project Proposal
Unit
Qty | Models | Description | Unit price | Total price
Branch
Qty | Models | Description | Unit price | Total price
Mode converter
Qty | Models | Description | Unit price | Total price
Controller
Qty | Models | Description | Unit price | Total price
Integrated Controller (including gateway, etc.)
Qty | Models | Description | Unit price | Total price
Pipe length
Pipe diameter | Total length | Number of elbows | Wall thickness | Type
mm | m |  | mm
Other
Communication line | Length
Refrigerant | NW

## Proposal
Change for Life
Part 1 System Proposal
Unit
Qty | Models | Description | Unit price | Total price
Branch
Qty | Models | Description | Unit price | Total price
Mode converter
Qty | Models | Description | Unit price | Total price
Controller
Qty | Models | Description | Unit price | Total price

## Condition
Change for Life
Part 2 Project Design Conditions
2.1 Temperature
Cooling
| Dry Bulb Temp | Wet Bulb Temp | Relative Humidity
| (deg °C) | (deg °C) | (%)
Indoor
Outdoor
Heating
| Dry Bulb Temp | Wet Bulb Temp | Relative Humidity
| (deg °C) | (deg °C) | (%)
Indoor
Outdoor
2.2 Power Supply
Voltage
Frequency
2.3 Refrigerant
Refrigerant

## System
Change for Life
Part 3 System
3.1 Unit Output
Indoor/Outdoor Capacity Ratio
Total capacity of ODU |  | Total capacity of IDU |  | Indoor/Outdoor Capacity Ratio
Outdoor Unit
Model | Cooling Capacity | Heating Capacity | Cooling Input Power | Heating Input Power
(Rated/Revised/Sensible)
| kW | kW | kW | kW
"Revised" means the actual capacity after being revised according to the designed temperature, length of pipeline, maximum height difference, etc.
Indoor Unit
Model | Cooling Capacity | Heating Capacity | Allocated Load (Cooling/Heating) | Description
(Rated/Revised/Sensible)
| kW | kW | kW
"Revised" means the actual capacity after being revised according to the designed temperature, length of pipeline, maximum height difference, etc.
Fresh air
Model | Rated air flow | Designed air flow | Description
| cfm | cfm
AHU-KIT
Model | Cooling Capacity | Heating Capacity | Allocated Load(Cooling/Heating) | Description
（Rated/Actual/Sensible）
| kW | kW | kW
"Actual Value" means the actual capacity of unit revised according to the design temperature, length of pipes, maximum height drop, etc.
The recommended AHU-KIT is a combination of two models, please install strictly according to the requirements of instruction manual or other technical materials.
Model | Allowable inside volume of heat exchanger (dm3) |  | Supposed air volume (m3/h)
| Minimum Value | Maximum Value | Minimum Value | Maximum Value

## Piping
Change for Life
3.2 Piping List
Location | Liquid | Gas (Low pressure) | Gas (High pressure) |  | Total Length | Number of Elbows
| mm | mm | mm |  | m
Remarks: High pressure Gas pipe and low pressure Gas pipe is only for Heat Recovery Units.
Item |  |  |  |  | Limited Length(≤) | Actual Length
[5 empty] | m | m
Actual total length of connecting pipe |  |  |  |  | 1000
Length from ODU to the farthest IDU |  |  | Actual Length |  | 165
|  |  | Equivalent Length |  | 190
Length of the pipe from the farthest IDU of the first indoor branch pipe to the nearest IDU |  |  |  |  | 40
Distance from the first indoor branch pipe to the farthest IDU |  |  |  |  | 40
Maximum height difference H between IDU and ODU |  |  | When ODU is in upper side |  | 50
|  |  | When ODU is in lower side |  | 90
Maximum height difference h between IDUs |  |  |  |  | 30
Maximum length of main pipe |  |  |  |  | 90
Length from IDU to the nearest branch pipe |  |  |  |  | 10
Pipe Size | Total Length | Number of Elbows | Thickness | Type
mm | m |  | mm
3.3 Branch Header
Models | Qty

## Piping 2
Change for Life
3.2 Piping List
Location | Liquid | Gas (Low pressure) | Gas (High pressure) |  | Total Length | Number of Elbows
| mm | mm | mm |  | m
Remarks: High pressure Gas pipe and low pressure Gas pipe is only for Heat Recovery Units.
Item |  |  |  |  | Limited Length(≤) | Actual Length
[5 empty] | m | m
Actual total length of connecting pipe |  |  |  |  | 300
Length from ODU to the farthest IDU |  |  | Actual Length |  | 120
|  |  | Equivalent Length |  | 150
The farthest piping between outdoor unit and hot water adaptor |  |  |  |  | 10
Height difference between outdoor unit and hot water adaptor |  |  |  |  | 3
Length of connection pipe between adaptor and water tank |  |  |  |  | 6
Height difference between adaptor and water tank |  |  |  |  | 3
The piping from the first branch to the farthest indoor unit |  |  |  |  | 40
Maximum height difference H between IDU and ODU |  |  | When ODU is in upper side |  | 50
|  |  | When ODU is in lower side |  | 40
Maximum height difference h between IDUs |  |  |  |  | 15
Pipe Size | Total Length | Number of Elbows | Thickness | Type
mm | m |  | mm
3.3 Branch Header
Models | Qty

## Piping 3
Change for Life
3.2 Piping List
Location | Liquid | Gas (Low pressure) | Gas (High pressure) |  | Total Length | Number of Elbows
| mm | mm | mm |  | m
Remarks: High pressure Gas pipe and low pressure Gas pipe is only for Heat Recovery Units.
Item |  |  |  |  | Limited Length(≤) | Actual Length
[5 empty] | m | m
Actual total length of connecting pipe |  |  |  |  | 300
Length from ODU to the farthest IDU |  |  | Actual Length |  | 120
|  |  | Equivalent Length |  | 150
Distance from the first indoor branch pipe to the farthest IDU |  |  |  |  | 40
Maximum height difference H between IDU and ODU |  |  | When ODU is in upper side |  | 50
|  |  | When ODU is in lower side |  | 40
Maximum height difference h between IDUs |  |  |  |  | 15
Height difference between outdoor unit and hydro box |  |  |  |  | 10
Height difference between hydro box and water tank |  |  |  |  | 3
The distance between hydro box and the farthest piping of outdoor unit |  |  |  |  | 30
The length of connection pipe between hydro box and water tank |  |  |  |  | 6
The distance between the hydro box and the first branch |  |  |  |  | 5
Pipe Size | Total Length | Number of Elbows | Thickness | Type
mm | m |  | mm
3.3 Branch Header
Models | Qty

## Piping 4
Change for Life
3.2 Piping List
Location | Liquid | Gas (Low pressure) | Gas (High pressure) |  | Total Length | Number of Elbows
| mm | mm | mm |  | m
Remarks: High pressure Gas pipe and low pressure Gas pipe is only for Heat Recovery Units.
Item |  |  |  |  | Limited Length(≤) | Actual Length
[5 empty] | m | m
Actual total length of connecting pipe |  |  |  |  | 300
Length from ODU to the farthest IDU |  |  | Actual Length |  | 120
|  |  | Equivalent Length |  | 150
Length of the pipe from the farthest IDU of the first indoor branch pipe to the nearest IDU |  |  |  |  | 40
Distance from the first indoor branch pipe to the farthest IDU |  |  |  |  | 90
Maximum height difference H between IDU and ODU |  |  | When ODU is in upper side |  | 40
|  |  | When ODU is in lower side |  | 50
The maximum height difference between outdoor unit and hydro box |  |  |  |  | 25
Maximum height difference h between IDUs |  |  |  |  | 15
Maximum length of main pipe |  |  |  |  | 90
Length from IDU to the nearest branch pipe |  |  |  |  | 40
The length of the maximum refrigerant pipe between outdoor unit and hydro box |  |  |  |  | 30
Length of connecting pipes of all the hot water generator |  |  |  |  | 25
The length of connection pipe between hydro box and water tank |  |  |  |  | 6
Pipe Size | Total Length | Number of Elbows | Thickness | Type
mm | m |  | mm
3.3 Branch Header
Models | Qty

## SPEC
Change for Life
3.4 Additional refrigerant required
Refrigerant | Net Weight
3.5 Electric System Config
ODU Main
ID | ODU Model | Circuit Breaker(A) | Wire section(mm2) x cores
Outdoor Unit
ODU Model |  | Circuit Breaker(A) | Wire section (mm2) x cores
IDU Electric
ID | IDU Model | Circuit Breaker(A) | Wire section (mm2)x cores | Connected Phase(N)
Total Communication line length
Communication line | Length

## Piping Diagram
Change for Life
3.6 Project Diagram
The diagram can be copied to paint tool, it can be adjusted photo's size.

## Wiring Diagram
Change for Life
3.7 Project Diagram
The diagram can be copied to paint tool, it can be adjusted photo's size.